## Slide 1: Weston Lewis, PE
Weston has been working in automation and process optimization since 2012 and has been doing so at Excel Engineering since 2019. Prior to Excel, Weston worked in the industrial silica industry and developed processes and controls for industrial burners and driers, chemical coaters, industrial water treatment facilities, pumping and material handling systems, dust and fume collection, and more. He graduated from the University of Wisconsin - Madison with a bachelor's degree in Chemical Engineering and is a registered Professional Engineer in Wisconsin and Minnesota, as well as several other states.

## Slide 2: Closed Loop Process Modelling
Weston Lewis, PE

## Slide 3: Agenda
Introduction and Motivation
  Types of Process Responses
  Graphical Estimation
  Numerical Estimation
Applications
  Industry Needs
  Practical Demonstration

## Slide 4: What is Model Acquisition?

## Slide 5: Raw Data Process Model

## Slide 6: Self-Regulating Responses
First Order Plus Time Delay
Second Order Plus Time Delay
Higher Order, Inverse Response, Variable Gain

## Slide 7: Non-Self-Regulating Responses
Integrating Plus Time Delay
Unstable Plus Time Delay

## Slide 8: Graphical Estimation
Useful only for certain processes
Qualitative in nature
Requires open loop response data (step testing)
  Often requires downtime

## Slide 9: Numerical Estimation
Useful for any process where the response type is known
Quantitatively optimize for best fit
Works for any arbitrary output curve
Can be done online!

## Slide 10: So what?

## Slide 11: In the Real World

## Slide 12: Better Loop Tuning
A 2012 study by the ARC Advisory Group in US chemical plants found:
30% of loops are in manual
20% have factory default tuning
50% increase variability in auto mode!

## Slide 13: How Does It Work?
Differential Equation Models (Deviation Variables)
Numerical Approximations

## Slide 14: How Does It Work?

## Slide 15: The Takeaway
Decreased commissioning time
Improved loop performance
Quantitative performance comparisions